Modul 4: 	Troubleshooting in building systems and building installations: The customer reports a cold room.

Scenario:

A customer reports a cold room in his house. The room is Bedroom II (see floorplan below). He has no idea what the problem is and asks you for help.

The customer’s building is a single-storey house. It was built in the 1980s.

The exterior walls of the house is a double-skin exterior wall with facing brickwork. The interior walls also are made of sand-lime bricks and are plastered. The building does not have a basement.

The windows and the glass door to the terrace have double glazing and a wooden frame.

A gas boiler heats the radiators and provides the hot water supply. The temperature is regulated by two temperature sensors. An outside temperature sensor on the outside wall, which regulates the flow temperature, and a room temperature sensor in the living room. The control unit of the boiler is placed in the living room. The radiators are all fitted with thermostatic valves. The heating control unit with a display is located in the living room. The heating circuit does not have the option of hydraulic balancing.